## Foaie1
Administraţia Naţională "Apele Române"
Administraţia Bazinală de Apă Someş-Tisa
Laboratorul Regional de Calitatea Apelor Cluj
LOT 1
Reactivi chimici si materiale referinta chimie generala
| Laborator |  |  |  | CJ | BN | SJ | MM | SM | Total | Pret unitar Lei fara TVA | Valoare totala Lei fara TVA
Nr. crt. | Denumire | Specificatii | Ambalaj | UM | Cantitate | Cantitate | Cantitate | Cantitate | Cantitate | Cantitate
1 | 4-amino antipirina | GR for analysis, puritate ≥99%; temp. topire 107-109C, pierderi la uscare(90˚) ≤ 0.5 %, sensitivity test (phenol) conforms | 100 | g | 1 | 1 |  |  |  | 2
2 | 4-amino-benzosulfonamida | continut ≥ 99%, Cl ≤ 0.01%, SO4 ≤ 0.02% | 100 | g |  |  |  | 1 |  | 1
3 | acetona | pur. min 99,5 %, evaporation residue max 0,001% | 1000 | ml |  |  |  | 1 |  | 1
4 | acetat de sodiu | anhidru | 250 | g |  |  |  |  | 1 | 1
5 | Acetonă pentru cromatografia de gaze | puritate min 99,8 %, reziduu la evaporare max 3 mg/l, lindan (GC-ECD) max 3 pg/ml | 2500 | ml | 1 |  |  | 2 |  | 3
6 | Acetonitril HPLC, gradient grade | puritate min 99,9 %, reziduu la evaporare max 2 mg/l, aciditate max 0,0002 meq/g, alcalinitate max 0,0002 meq/g, filtrat prin membrana cu diametrul porilor de max 0,2 μm | 2500 | ml |  |  |  | 27 |  | 27
7 | Acid acetic glacial d=1,05 g/ml | GR for analysis, continut ≥ 99.8%, d = 1.05 g/cm3, Fe ≤ 0.05% | 1000 | ml |  |  |  | 1 | 1 | 2
8 | Acid (L(+)) ascorbic | continut 99.7-100.5%, cristale albe, Fe ≤ 2 ppm, Cl ≤ 50 ppm, SO4 ≤ 20 ppm | 250 | g |  |  |  | 1 | 1 | 2
9 | Acid azotic 65% Suprapur | Cr max. 0,020 ppm; Cu max. 0,010 ppm; Pb max. 0,010 ppm; Cd max. 0,010 ppm | 2500 | ml | 3 |  |  | 1 | 1 | 5
10 | Acid azotic 60% ultrapur | Cr max. 50 ppt; Cu max. 20 ppt; Pb max.20 ppt; Cd max. 20 ppt | 1000 | ml | 1 |  |  |  |  | 1
11 | Acid azotic ,p.a. | for analysis ,≥65% | 1000 | ml |  |  |  | 1 |  | 1
12 | Acid boric | Continut: 99,5-100,5%; Cl <0,0003%; PO4 < 0,0005%; SO4< 0,0005%; metale grele (Pb) ≤ 0.0005%, Ca ≤ 0.002%, Fe ≤ 0.0001%, Pb ≤ 0.001% | 500 | g |  |  |  | 1 |  | 1
13 | Acid clorhidric 0,1 N | Titripur® Reag. Ph Eur,Reag. USP, solutie volumetrica | 1000 | ml |  |  |  | 1 |  | 1
14 | Acid clorhidric 1 N | Titrisol, pentru analiza, spec. density 1,02 g/ml; pH value <1,0(H2O, 20°C); volumetric solution in accordance with Ph Eur, USP; certified value traceable to NIST | 1000 | ml |  |  |  | 1 |  | 1
15 | Acid clorhidric 34-37% max 0,1 ppb Hg | continut: 34-37%; Hg <0,1 ppb | 1000 | ml |  |  |  | 1 |  | 1
16 | Acid clorhidric 37%, d-1,19 g/l |  | 2500 | ml |  |  |  |  | 2 | 2
17 | Acid clorhidric 32% | GR for analysis, continut: 32-37%; clor liber<0,5ppm; sulfati <1ppm; NH4 <1ppm; Ca <0,2ppm; Na <0,2ppm; Ni <0,02ppm; Pb <0,01ppm; Hg<0,01ppm; reziduu la calcinare (in SO4) <5ppm | 2500 | ml | 2 |  |  | 1 |  | 3
18 | Acid fosforic conc. | GR for analysis ISO, continut: >85%; Mn <0,5ppm; NO3 <3 ppm | 1000 | ml |  | 1 |  | 1 | 1 | 3
19 | Acid glutamic | for biochemistry, ≥99%, cristalline powder white | 250 | g |  |  |  | 1 |  | 1
20 | Acid succinic | pentru analiza, puritate min 99,5% | 250 | g |  |  |  | 1 |  | 1
21 | Acid sulfuric concentrat | GR for analysis ISO, continut: 95-97%; densitate 1.84 g/cm3 (20 °C), NO3 <0,2ppm; PO4 <0,5ppm; reziduu la calcinare <3ppm | 2500 | ml | 3 | 2 |  | 2 | 3 | 10
22 | Alcool etilic | ACS,ISO,Reag. Ph Eur puritate ≥ 99.2 %; densitate d 20/20C 0,790-0,793; metanol <0,1%; benzen <0,00002%; solventi reziduali lipsiti din procesul de fabricatie | 1000 | ml | 2 | 2 |  | 5 | 5 | 14
23 | alcool izopropilic HPLC, gradient grade |  | 2500 | ml |  |  |  | 3 |  | 3
24 | Alcool izopropilic | continut ≥ 99.7%, SO4 ≤ 1000 ppb, Ba ≤ 0.00001%, Ca ≤ 0.00005%; densitate d 20/40C: 0,784-0,786 | 1000 | ml |  |  |  | 5 | 5 | 10
25 | Amidon |  | 100 | g |  |  |  |  | 1 | 1
26 | Amoniac 25% | non volatile matter ≤ 10 ppm; GR for analysis, assay 25 % (acidimetric, NH3) | 1000 | ml |  |  | 1 | 1 | 1 | 3
27 | Apa oxigenata 35% | peroxid de hidrogen (perhidrol) solutie 35%, d-1,39 g/ml | 1000 | ml |  |  |  | 3 |  | 3
28 | N-aliltiouree (ATU) | for synthesis, ≥ 98% | 50 | g |  | 1 | 1 | 1 |  | 3
29 | Azida de sodiu | for synthesis, ≥ 99% | 100 | g |  |  |  | 1 |  | 1
30 | Azotat de argint 0,1 N | solutie pt 1000 ml AgNO3-0.1N, Titrisol, density: 1,01 g/cm3 (20 0C), solub. in water | fiola | buc |  | 1 |  | 1 |  | 2
31 | Azotat de magneziu, modificator de matrice | modificator pentru AAS, c(Mg)= 10 ± 0,2 g/l, Mg(NO3)2*6H2O in 17% HNO3 | 50 | ml |  |  |  | 2 | 2 | 4
32 | Azotat de palladiu, modificator de matrice | modificator pentru AAS, c(Pd)= 10 ± 0,2 g/l, Pd(NO3)2*6H2O in 15% HNO3 | 100 | ml |  |  |  | 1 | 1 | 2
33 | Azotat de potasiu | GR for analysis, continut ≥ 99.0%, NO2 ≤ 0,001%, NH4 ≤ 0.001% | 500 | g |  |  | 1 | 1 |  | 2
34 | Azotat de potasiu | '99.995% | 50 | g |  |  |  |  | 1 | 1
35 | Azotit de sodiu | GR for analysis, continut ≥ 99.0 %, Cl ≤ 0.005%, SO4 ≤ 0.005%, Fe ≤ 0.001% | 100 | g |  |  |  | 1 | 1 | 2
36 | Azotit de sodiu | '99.99% | 50 | g | 1 |  |  |  |  | 1
37 | Carbonat acid de sodiu (bicarbonat) | puritate 99,7 - 100,3%, PO4 max. 0,001%, Fe max 0,0005% | 500 | g |  |  |  | 1 | 1 | 2
38 | Carbonat de sodiu 0.1 N | solutie pentru 1000 ml, c(Na2CO3)=0,05 mol/l (0,1 N), Titrisol | fiola | buc |  |  |  |  | 1 | 1
39 | Carbonat de sodiu | Sodium carbonat decahidrat, Gr for analysis | 1000 | g |  |  |  | 1 | 1 | 2
40 | Carbonat de sodiu anhidru | GR for analysis ACS, ISO, Reag. Ph Eur, continut: ≥99,9%; PO4 <0,001% | 1000 | g |  |  |  | 1 |  | 1
41 | Citrat trisodic dihidrat | continut: 99.0 - 101.0%, pH = 7.5 - 9.0, Cl ≤ 0.001%, C2O4 ≤ 0.03%, PO4 ≤ 0.002%, SO4 ≤ 0.004%, N ≤ 0,001%, Pb ≤ 0.0005%, Ca ≤ 0.005%, Fe ≤ 0.0005%, NH3 ≤ 0.003%, H2O ≤ 11.0 - 13.0% | 500 | g |  | 1 | 1 | 3 | 3 | 8
42 | Cloramina T | min 99,0% | 250 | g |  | 1 | 1 | 1 |  | 3
43 | Cloroform | GR for analysis ACS,ISO,Reag. Ph Eur, puritate: 99-99.4%; continut >99,8%; | 2500 | ml | 2 | 3 |  | 3 | 4 | 12
44 | Clorură de amoniu | GR for analysis, continut: >99,8%; Mg <0,0005%; Ca <0,0005% | 1000 | g |  |  |  |  | 1 | 1
45 | Clorura de bariu | continut ≥ 99.0%, Ca ≤ 0.005%, Fe ≤ 0.0001%, K ≤ 0.0025%, insoluble matter max. 0,005%, ph: 5,2 - 8,2 | 1000 | g |  |  |  | 1 | 1 | 2
46 | Clorura de cesiu | for analysis, puritate min. 99,5% | 25 | g |  |  |  | 1 | 1 | 2
47 | Clorura de fier (III) hexahidrat | for analysis, puritate 99,0-102 % | 250 | g | 1 |  |  | 1 |  | 2
48 | Clorura de lantan | for analysis, puritate min.98 % | 100 | g |  |  |  | 1 | 1 | 2
49 | Clorura de mangan | for analysis, puritate 99-101% | 1000 | g |  |  |  | 1 |  | 1
50 | Clorura de sodiu | GR for analysis, continut: >99,5%; SO4 ≤0,001%; Ca ≤0,002%; Mg ≤0,001% | 1000 | g | 1 |  | 1 | 1 |  | 3
51 | Clorura de sodiu 0.1 N | c(NaCl) = 0.1 mol/l (0.1 N) Titrisol; pentru 1000 ml solutie | fiola | buc |  |  |  |  | 1 | 1
52 | Clorura de staniu | continut: 98-103%; | 250 | g | 1 |  |  |  | 1 | 2
53 | Cromat de potasiu | for analysis, min 99,5%, Cl max. 0,001% | 1000 | g |  |  |  | 1 |  | 1
54 | Dicloroizocianurat de sodiu dihidrat | for analysis, continut ≥ 98% | 50 | g |  | 1 | 1 | 1 |  | 3
55 | Dicromat de potasiu | for analysis, min 99,9%, insoluble matter max. 0,005%, Cl max.0,001% | 500 | g |  |  |  | 1 |  | 1
56 | EDTA (sarea disodica a acidului etilendiaminotetraacetic dihidrat) | GR for analysis ACS, ISO, Reag. Ph Eur, puritate ≥99% by titration, Fe ≤ 5 ppm | 250 | g | 2 |  |  | 4 |  | 6
57 | Fosfat de amoniu, dihidrogeno-, modificator de matrice | modificator pentru AAS, c= 100 ± 2 g/l NH4H2PO4 in H2O | 50 | ml |  |  |  | 1 |  | 1
58 | Fosfat dipotasic | di-Potassium hydrogen phosphate trihydrate GR for analysis, continut: >99% | 250 | g |  |  |  | 1 |  | 1
59 | Fosfat diacid de amoniu | 99.99 Suprapur | 50 | g |  |  |  |  | 1 | 1
60 | Fosfat disodic dihidrat | for analysis, continut: >99% | 500 | g |  |  |  | 1 | 1 | 2
61 | Fosfat monopotasic | Potassium phosphate monobasic, min. 99%; N total max. 0,02%; Cloruri max. 0,002%; SO4 max. 0,01%; Metale grele (Pb) max. 0,02%; As max. 0,0002% Fe max. 0,003% | 250 | g |  | 1 | 1 | 1 | 1 | 4
62 | Glicerină | glicerol p.a., min 99,5%, SO4 max. 0,001% | 1000 | ml |  | 1 |  |  |  | 1
63 | Glicina | continut: ≥ 99,7%; Cl ≤ 0.003%, SO4 ≤ 0.0025%, (Pb) ≤ 0.001%, Fe ≤ 0.0001%, PB ≤ 0.0001%, NH4 ≤ 0.002%, alti aminoacizi ≤ 0.1% | 100 | g |  |  |  | 1 |  | 1
64 | Glucoza | D(+)-Glucose anhydrous for biochemistry Reag. Ph Eur | 250 | g |  |  |  | 1 | 1 | 2
65 | hartie indicator de pH, cutii 0.5-13 | rolls,pH 0.5-13 pH-box | cutie |  |  |  |  | 1 |  | 1
66 | Hexacianoferat (III) de potasiu | GR for analysis, ACS,Reag. Ph Eur, puritate ≥ 99.0 %, materii insolubile ≤ 0.005 % | 250 | g |  |  |  | 1 |  | 1
67 | hexadecane | pur > 99% | 250 | ml |  |  |  | 1 |  | 1
68 | Hexan, n-, pa | min 96%, purity Σ hexane isomers + methylciclopentane (GC) min 98,5% | 2500 | ml |  |  |  |  | 4 | 4
69 | n-Hexan pentru cromatografia de gaze | puritate min 96 %, reziduu la evaporare max 0,0001%, for GC residue analysis | 2500 | ml | 30 |  |  | 20 |  | 50
70 | Hidrogen-ftalat de potasiu | continut ≥ 99,5 %; pierdere la uscare (105 0C) ≤ 0,2 %; Cu ≤ 0,0002 % | 250 | g |  | 1 |  | 1 |  | 2
71 | Hidroxid de potasiu | perle, pentru analiza, continut ≥ 85% | 1000 | g |  | 1 |  | 1 |  | 2
72 | Hidroxid de sodiu, p.a. | perle, continut ≥ 99.0%, Na2CO3 ≤ 1.0%, Cl ≤ 0.0005%, PO4 ≤ 0.0005, SiO2 ≤ 0.001%, SO4 ≤ 0.0005%, N ≤ 0.0003%, (Pb) ≤ 0.0005%, Al ≤ 0.0005%, As ≤ 0.0001%, Ca ≤ 0.0005%, Cu ≤ 0.0002%, Fe ≤ 0.0005%, K ≤ 0.05%, Mg ≤ 0.0005%, Ni ≤ 0.00025, Pb ≤ 0.0005%, Zn ≤ 0.001% | 1000 | g | 4 |  |  | 3 | 3 | 10
73 | Iodat de potasiu | for analysis, assay (iodometric) 99,7%- 100,4% | 100 | g |  |  |  | 1 |  | 1
74 | Iodura de potasiu | for analysis, continut: >99,5%; Cl <0,01% | 500g | g |  |  |  | 1 |  | 1
75 | Kit pentru analiza consumului chimic de oxigen | Test kit Spectroquant® COD, domeniu de masurare 5- 80 mg/l | 25 buc | set |  |  |  | 1 |  | 1
76 | Kit pentru analiza consumului chimic de oxigen | Test kit Spectroquant® COD, domeniu de masurare 50-500 mg/l | 25 buc | set |  |  |  | 1 |  | 1
77 | Kit pentru analiza sulfurilor | Test kit Spectroquant® Sulfura, domeniu de masurare 0.020 - 1.50 mg/l S2- | 220 buc | set |  |  |  | 1 |  | 1
78 | Metanol pentru cromatografie | ≥ 99.8% | 2500 | ml |  |  |  | 4 |  | 4
79 | Molibdat de amoniu heptahidrat | continut: 99.3 - 101.8, Cl ≤ 0.002%, PO4 ≤ 0.0005%, SO4 ≤ 0.02%, (Pb) ≤ 0.001%, K ≤ 0.005%, Mg ≤ 0.005%, Na ≤ 0.005%, pentru analiza fosfatilor | 1000 | g |  |  |  | 1 |  | 1
80 | N-(1-naftil) etilen diamină diclorhidrat | ≥ 99.0%, p.a, assay (dry substance) ≥ 99.0% | 25 | g |  | 1 |  | 1 |  | 2
81 | Nitrozo-pentacianoferat de sodiu | continut 99.0 - 102.0%, cloruri ≤ 0.02%, hexacianoferati (II) ≤ 0.02, hexacianoferati (III) ≤ 0.01%, sulfati ≤ 0.01%, pentru determinarea amoniului | 100 | g |  |  |  | 1 |  | 1
82 | Peroxodisulfat de potasiu | continut ≥ 99.0%, Cl ≤ 0.001%, metale grele (Pb) ≤ 0.003%, Fe ≤ 0.001%, Mn ≤ 0.0001% | 250 | g |  |  |  | 1 |  | 1
83 | Peroxodisulfat de potasiu fara N | continut ≥ 99.0%, N ≤ 0.001%, Cl ≤ 0.001%, metale grele (Pb) ≤ 0.001%, Fe ≤ 0.0005%, Mn ≤ 0.0001% | 250 | g |  |  |  | 1 | 1 | 2
84 | Piridina | puritate: >99,5%; Cl < 0,0005%, SO4 < 0,0005% | 1000 | ml |  |  |  | 1 | 1 | 2
85 | Salicilat de sodiu | continut ≥ 99.5%, Cl ≤ 0.002%, SO4 ≤ 0.01%, Pb ≤ 0.001%, Fe ≤ 0.0015%, pentru determinare amoniu si azotati | 1000 | g |  |  |  | 1 | 1 | 2
86 | Solutie standard amoniu 1000 mg/l NH4+ | continut: NH4Cl in H2O, conc. NH4: 990-1010 mg/l | 500 | ml | 1 |  |  | 1 |  | 2
87 | solutie standard Arsen | pt. AAS, dizolvat in HNO3 0,5 mol/l, 1000 mg/l | 100 | ml |  |  |  | 1 |  | 1
88 | Solutie standard azotati 1000 mg/l NO3­ | continut: NaNO3 in H2O, conc. NO3: 990-1010 mg/l | 500 | ml | 1 |  |  |  |  | 1
89 | Solutie standard azotiti 1000 mg/l NO2­ | continut: NaNO2 in H2O, conc. NO2: 990-1010 mg/l | 500 | ml | 1 |  |  |  |  | 1
90 | solutie standard cadmiu | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
91 | Solutie standard calciu | Calcium standard solution Traceable to SRM from NIST Ca(NO3)2 in HNO3 0,5 mol/l, 1000 mg/l Ca | 100 | ml |  |  |  | 1 |  | 1
92 | Solutie standard cianuri 1000 mg/l CN- | continut: K2[Zn(CN)4] in H2O, conc. CN: 990-1010 mg/l | 500 | ml | 1 |  |  |  |  | 1
93 | Solutie standard cloruri 1000 mg/l Cl- | continut: NaCl in H2O, conc. Cl: 990-1010 mg/l | 500 | ml | 1 |  |  |  | 1 | 2
94 | solutie standard Crom | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
95 | solutie standard Cupru | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
96 | Solutie standard fosfati 1000 mg/l PO43- | continut: KH2PO4 in H2O, conc. PO4: 990-1010 mg/l | 500 | ml | 1 |  |  |  | 1 | 2
97 | solutie standard Fier | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
98 | solutie standard magneziu | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  |  | 1 | 1
99 | solutie standard mangan | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
100 | solutie standard nichel | concentratie 990-1010 mg/l, +/- 2 mg/l, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
101 | solutie standard plumb | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
102 | solutie standard potasiu | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
103 | solutie standard sodiu | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
104 | solutie standard TOC | analytical standard, 1000 mg/L±10 mg/L | 250 | ml | 1 |  |  |  |  | 1
105 | solutie standard zinc | concentratie 1000 mg/l, pentru AAS, traceable to NIST-SRM | 100 | ml |  |  |  | 1 |  | 1
106 | Solutie standard de conductivitate HACH 0,147 mS/cm | 147 µS/cm ± 5 µS/cm la 25 oC, sub forma de KCl (c=0,001 mol/l), trasabila NIST | 250 | ml |  |  |  |  | 1 | 1
107 | Solutie standard de conductivitate HACH 1,41 mS/cm | 1413 µS/cm ± 12 µS/cm la 25 oC, sub forma de KCl (c=0,01 mol/l), trasabila NIST | 250 | ml |  |  |  |  | 1 | 1
108 | Tampon pudra pentru floruri Hach | Plicuri cu pulbere de ajustor de tărie ionică pentru fluorură, Fluoride Adjustment Buffer Powder Pillows (Sodium chloride, Butanedioic acid, disodium salt, Succinic acid) | 100 buc | cutie |  | 1 |  |  |  | 1
109 | Solutie tampon pH 10 | Buffer solution, (boric acid/potassium chloride/sodium hydroxide), traceable to SRM from NIST and PTB, pH 10.00 (25 oC ), Certipur | 500 | ml |  |  |  | 1 |  | 1
110 | Solutie tampon pH 4 | Buffer solution, (potassium hydrogene phtalate), traceable to SRM from NIST and PTB, pH 4.01 (25 oC), Certipur | 500 | ml |  |  |  | 1 |  | 1
111 | Solutie tampon pH 7 | Buffer solution, (potassium dihydrogen phosphate/di-sodium hydrogen phosphate), traceable to SRM from NIST and PTB, pH 7.00 (25 oC ), Certipur | 500 | ml |  |  |  | 1 |  | 1
112 | Soluție pentru păstrarea electrozilor HI70300L | soluție pentru păstrarea electrozilor Hanna Instruments | 500 | ml |  |  |  | 1 |  | 1
113 | Solutii electrolit 3M KCl, saturat cu AgCl, pH WTW 100 ml | electrolyte sol. 3M KCl, saturated AgCl, WTW, 100 ml | 100 | ml |  |  |  | 1 |  | 1
114 | Soluţie de umplere, Referinţă, 2,44 M KCl, 59 mL | soluție de umplere electrod pH HACH, de concentrație 2,44 M KCl | 59 | ml |  |  |  | 1 |  | 1
115 | Solutie pH WTW tehnic 10, 250 ml | buffer solution pH WTW technical TPL 10, 250 ml; pentru WTW Inolab 730/740 | 250 | ml |  |  |  | 1 |  | 1
116 | Solutie pH WTW tehnic 4, 250 ml | buffer solution pH WTW technical TPL 4, 250 ml; pentru WTW Inolab 730/740 | 250 | ml |  |  |  | 1 |  | 1
117 | Solutie pH WTW tehnic 7, 250 ml | buffer solution pH WTW technical TPL 7, 250 ml; pentru WTW Inolab 730/740 | 250 | ml |  |  |  | 1 |  | 1
118 | solutie pH HACH tehnic 10 | ph 10.01±0.02 la 25˚C | 500 | ml |  | 1 |  |  |  | 1
119 | solutie pH HACH tehnic 4 | pH 4.01 la 25˚C | 500 | ml |  | 1 |  |  |  | 1
120 | solutie pH HACH tehnic 7 | pH 7.00±0.02 la 25˚C | 500 | ml |  | 1 |  |  |  | 1
12 | Sulfat de argint | for analysis, assay (argentometric) min. 98,5% | 50 | g |  | 1 |  |  |  | 1
122 | Sulfat de cupru pentahidrat p.a. | GR for analysis ACS, ISO, Reag. Ph Eur, assay iodometric 99.0 - 100.5 % | 500 | g | 1 |  |  | 2 |  | 3
123 | sulfat de fier II şi amoniu | for analysis, Assay (manganometric) 99 - 101,5% | 500 | g |  |  |  | 1 |  | 1
124 | sulfat de magneziu | min 99,5%, pH value (5%;water) 5,0 - 8,0 | 1000 | g |  |  |  | 1 |  | 1
125 | Sulfat de mangan |  | 1000 | g |  |  |  |  | 1 | 1
126 | Sulfat de mangan monohidrat | for analysis, assay (complexometric) 98 - 101,0% | 250 | g |  |  |  | 1 |  | 1
127 | Sulfat de mercur | for analysis, assay (complexometric) ≥98 % | 250 | g | 1 | 1 |  | 1 |  | 3
128 | sulfat de sodiu | for analysis, Assay (alkalimetric) ≥99 % | 1000 | g |  |  |  | 1 |  | 1
129 | Sulfat de sodiu anhidru 99.99% |  | 50 | g |  |  |  |  | 1 | 1
130 | Sulfat de sodiu anhidru | min 99,0%, GR for analysis, particle size 0,25 - 2 mm, ACS, ISO, ph: 5,2 - 8,0 | 1000 | g | 3 |  |  | 1 | 3 | 7
131 | Sulfit de sodiu | Gr for analysis, anhidru, assay (iodometric): 97.0-100.5% | 500 | g |  |  |  | 1 |  | 1
132 | Sulfura de sodiu nanohidrat | ACS reagent; ≥98.0%; crystalline; colorless or slightly yellow; NH4+: ≤0.005%; SO32- and S2O32-: ≤0.1% | 100 | g |  |  |  |  | 1 | 1
133 | Tartrat de sodiu si potasiu | GR for analysis ACS, ISO, Reag. Ph Eur, assay (alkalimetric) 99.0 - 102.0 % | 1000 | g |  |  |  | 1 |  | 1
134 | Tartrat de stibiu si potasiu | for analysis, assay 99,0 - 103,0% | 250 | g |  |  |  | 1 |  | 1
135 | Tiosulfat de sodiu solutie pentru 1000 ml, c(Na2S2O3)=0,1 mol/l (0,1N ) | Titrisol, pentru analiza, ρ: 1,22 g/cm3 (20°C), solutie pentru 1000 ml, c(Na2S2O3)=0,1 mol/l (0,1N) | fiola | buc |  |  |  | 1 | 1 | 2
136 | ulei de imersie | Imersion oil for microscopy ne=1.519 | 50 | ml |  |  |  | 1 |  | 1
137 | Uree | continut: min 99.5% | 500 | g |  |  |  |  | 1 | 1
138 | Nutrienti pentru CBO5, 6 L, HACH | pernute de solutie tampon nutrient pentru pregatirea a 6 litri apa de dilutie | 50 buc | cutie |  | 1 |  | 2 |  | 3
139 | Nutrienti pentru CBO5, 3 L, HACH | pernute de solutie tampon nutrient pentru pregatirea a 3 litri apa de dilutie | 50 buc | cutie |  |  |  | 2 |  | 2
TOTAL LOT 1
Sef laborator
Claudia Nagy