## lot 1
Lot 1 Reactivi chimici
Nr. Crt | Denumire | Caracteristici | UM | Cantitate totala | Necesar
[5 empty] | CJ | BN | SJ | MM | SM
1 | Acetona | ≥99% | L | 2 | 1 |  |  |  | 1
2 | Acetonitril pentru LC-MS | calitate Chromasolv LC-MS Ultra, puritate min 99,9 %, pentru analiza LC-MS si UHPLC | L | 4 | 4
3 | Acetat de amoniu pentru LC-MS | calitate Chromasolv LC-MS Ultra, puritate min 99 %, pentru analiza LC-MS si UHPLC | 25G | 1 | 1
4 | Acid acetic glacial | d=1.05 g/ml | L | 4 |  | 2 |  | 2
5 | Acid ascorbic | L(+)Ascorbic acid (vitamin C) GR For analysis, ACS,ISO; continut 99.7 - 100.5%, cristale albe, Fe ≤ 2 ppm, Cl ≤ 50 ppm, SO4 ≤ 20 ppm | 250g | 3 | 1 | 1 |  | 1
6 | Acid azotic 65% suprapur |  | L | 1 |  |  |  |  | 1
7 | Acid azotic 65% | Cr max. 0,020 ppm; Cu max. 0,010 ppm; Pb max. 0,010 ppm; Cd max. 0,010 ppm | 2,5L | 2 |  |  |  | 1 | 1
8 | Acid barbituric |  | 100g | 1 |  |  |  | 1
9 | Acid boric | Continut: 99,5-100,5%; Cl <0,0003%; PO4 < 0,0005%; SO4< 0,0005%; (Pb) ≤ 0.0005%, Ca ≤ 0.002%, Fe ≤ 0.0001%, Pb ≤ 0.001% | 500g | 3 |  | 1 |  | 1 | 1
10 | Acid clorhidric 34-37% max 0,1 ppb Hg | continut: 34-37%; Hg<0,1 ppb; | 1000 ml | 6 | 6
11 | Acid clorhidric 37% | Conc. min 35-38% ≥99% | 2,5L | 2 | 1 |  |  | 1
12 | Acid clorhidric 32% | GR for analysis, continut: 32-37%; clor liber<0,5ppm; sulfati <1ppm; NH4 <1ppm; Ca <0,2ppm; Na <0,2ppm; Ni <0,02ppm; Pb <0,01ppm; Hg<0,01ppm; reziduu la calcinare (in SO4) <5ppm | 2.5L | 2 |  | 1 |  | 1
13 | Acid clorhidric 0,1 N | c(HCl) = 0,1 mol/l | L | 2 | 1 |  |  | 1
14 | Acid clorhidric 1N | Titrisol, pentru analiza, spec. density 1,02 g/ml; pH value <1,0(H2O, 20°C); volumetric solution in accordance with Ph Eur, USP; certified value traceable to NIST | L | 1 |  |  |  | 1
15 | Acid formic pentru LC-MS | puritate min 97,5 %, calitate pentru analiza LC-MS | 50ML | 1 | 1
16 | Acid fosforic concentrat | ortho-Phosphoric acid 85% GR for analysis ISO, GR for analysis ISO, continut: >85%; Mn <0,5ppm; NO3 <3 ppm | L | 2 |  |  |  | 2
17 | Acid glutamic | for biochemistry ,≥99%,crtstalline powder white | 250G | 2 |  |  | 1 | 1
18 | Acid nicotinic |  | 100g | 1 |  | 1
19 | Acid sulfuric conc. | GR for analysis ISO, continut: 95-97%; densitate 1.84 g/cm3 (20 °C), NO3 <0,2ppm; PO4 <0,5ppm; reziduu la calcinare <3ppm | 2,5L | 11 | 4 | 2 | 2 | 1 | 2
20 | Alcool etilic | ≥99% | L | 10 |  | 2 | 1 | 5 | 2
21 | Alcool izopropilic | ≥99% | L | 4 | 2 |  |  | 2
22 | Alitouree (ATU) |  | 50G | 3 |  |  | 1 | 1 | 1
23 | Amidon |  | 100G | 1 |  |  |  |  | 1
24 | 4-Amino-benzensulfomanida |  | 100G | 2 |  | 1 | 1
25 | 4-amino antipirina | GR for analysis, puritate ≥99%; temp. topire 107-109C, pierderi la uscare(90˚) ≤ 0.5 %, sensitivity test (phenol) conforms | 250g | 1 |  | 1
26 | Amoniac, soluție 25% | Conc. min 25% | L | 2 | 1 |  |  | 1
27 | Apa pentru LC-MS | calitate Chromasolv LC-MS Ultra, pentru analiza LC-MS si UHPLC | L | 10 | 10
28 | Apa oxigenata 30% | 30% | kg | 3 | 1 |  | 1 | 1
29 | Azida de sodiu |  | 50g | 1 |  |  |  | 1
30 | Azotat de argint 0.1 N | solution for 1000ml, c(AgNO3)=0,1 mol/l(0,1 N ), Titrisol, density: 1,01 g/cm3(200C), solub. in water | L | 3 | 1 |  | 1 | 1
31 | Azotat de magneziu, modificator de matrice | modificator pentru AAS, c(Mg)=10±0,2g/l, Mg(NO3)2*6H2O in 17%HNO3 | 50ml | 1 |  |  |  | 1
32 | Azotat de palladiu, modificator de matrice | modificator pentru AAS, c(Pd)=10±0,2g/l, Pd(NO3)2*6H2O in 15%HNO3 | 50ml | 1 |  |  |  | 1
33 | Azotat de potasiu | puritate 99.995% | 50g | 4 | 1 | 1 |  | 1 | 1
34 | Azotat de sodiu | puritate 99.995% | 50g | 2 |  |  |  | 1 | 1
35 | Azotit de sodiu | puritate 99.995% | 100g | 2 | 1 |  | 1
36 | Albastru de metilen |  | 25g | 1 |  |  | 1
37 | Acid stearic | for synthesis, pur > 97% | 500g | 1 |  |  | 1
38 | Bromat bromura solutie pt 1000 ml, c(Br2)=0,05mol/l (0,1 N) | fiolă concentrată (alcătuită din KBr, KBrO3 şi apă) cu concentraţie finală după diluare de c(Br2)=0,05mol/l (0,1N)+/-0,2%, pH > 5 | fiola | 5 | 5
39 | Camfor | ρ: 0,992 g/cm3 (250C), pur > 95% | 250g | 1 |  |  |  |  | 1
40 | Carbonat acid de sodiu | pur. 99,7 - 100,3%, PO4 max. 0,001%, Fe max 0,0005% | 500g | 2 |  | 1 |  | 1
41 | Carbonat de calciu | ≥99% | 250g | 2 |  |  |  | 1 | 1
42 | Carbonat de sodiu | for analysis ,Assay ≥99,9% | kg | 1 |  |  |  | 1
43 | Carbonat de sodiu | 0.1N (0.05M) pentru 1000 ml | fiola | 1 |  |  |  |  | 1
44 | Carbonat de sodiu anhidru | GR for analysis ACS, ISO, Reag. Ph Eur, continut: ≥99,9%; PO4 <0,001% | kg | 3 |  | 1 |  | 1 | 1
45 | Celuloza microcristalina |  | 500g | 2 |  | 1 |  |  | 1
46 | Citrat trisodic dihidrat | GR for analysis, continut: 99.0 - 101.0%, pH = 7.5 - 9.0, Cl ≤ 0.001%, C2O4 ≤ 0.03%, PO4 ≤ 0.002%, SO4 ≤ 0.004%, N ≤ 0,001%, Pb ≤ 0.0005%, Ca ≤ 0.005%, Fe ≤ 0.0005%, NH3 ≤ 0.003%, H2O ≤ 11.0 - 13.0% | kg | 4 |  | 1 | 1 | 1 | 1
47 | Cloramina T | min 99,0% | 250g | 2 |  |  |  | 1 | 1
48 | Cloroform | ≥99% | 2,5L | 13 | 5 | 3 | 2 | 1 | 2
49 | Clorura de amoniu | ≥99% | kg | 1 | 1
50 | Clorura de bariu | continut ≥ 99.0%, Ca ≤ 0.005%, Fe ≤ 0.0001%, K ≤ 0.0025%, insoluble matter max. 0,005%, ph: 5,2 - 8,2 | kg | 3 |  | 1 | 1 | 1
51 | Clorura de cesiu pa | for analysis, Assay (argentometric) min.99,5% | 25g | 1 |  |  |  | 1
52 | Clorura de cobalt hexahidrat |  | 100g | 1 |  |  | 1
53 | Clorura de lantan | for analysis, Assay (complexometric) min.98 % | 100g | 1 |  |  |  | 1
54 | Clorura de mangan | continut: 99-101% | kg | 1 |  |  |  | 1
55 | Clorura de potasiu | ≥99% | 500g | 2 | 1 |  |  |  | 1
56 | Clorura de sodiu | GR for analysis, continut: >99,5%; SO4 ≤0,001%; Ca ≤0,002%; Mg ≤0,001% | kg | 7 | 5 |  |  | 1 | 1
57 | Clorura de staniu | continut: 98-103%; | 250 g | 1 | 1
58 | Dicloroizocianurat de sodiu dihidrat | GR for analysis continut ≥ 98% | 50g | 2 |  |  | 1 | 1
59 | Dicromat de potasiu | GR for analysis, min 99,9%, Insoluble matter max. 0,005%, Cl max.0,001% | 500g | 1 |  |  |  | 1
60 | Dodecil sulfat de sodiu | for biochemistry and surfactant tests, puritate≥ 99.0-100.2 % | 50g | 2 |  | 1 |  | 1
61 | EDTA (sarea disodica a acidului etilendiaminotetraacetic dihidrat) (1 flacon) | GR for analysis ACS, ISO, Reag. Ph Eur, puritate ≥99% by titration, Fe ≤ 5 ppm | 250g | 3 |  |  | 1 | 1 | 1
62 | Fenolftaleina |  | 100g | 2 |  |  | 1 |  | 1
63 | Florisil | Florisil Adsorbent for Chromatography, 60-100 mesh | 500 g | 2 | 2
64 | Fosfat de amoniu, dihidrogeno-, modificator de matrice | modificator pentru AAS, c: 100g/l(NH4H2PO4 -puritate 99,99%)in 1%HNO3 | 50ml | 1 |  |  |  | 1
65 | Fosfat disodic dihidrat | ≥99% | 500g | 1 |  |  |  |  | 1
66 | Fosfat monopotasic | min. 99%; N total max. 0,02%; Cloruri max. 0,002%; SO4 max. 0,01%; Metale grele(Pb) max. 0,02%; As max. 0,0002% Fe max. 0,003% | 250g | 3 |  | 1 |  | 1 | 1
67 | Glicerina pa | min 99,5%, SO4 max. 0,001% | L | 1 |  |  |  | 1
68 | Glicina | GR for analysis, continut: ≥ 99,7%; Cl ≤ 0.003%, SO4 ≤ 0.0025%, (Pb) ≤ 0.001%, Fe ≤ 0.0001%, PB ≤ 0.0001%, NH4 ≤ 0.002%, alti aminoacizi ≤ 0.1% | 100g | 2 | 1 |  |  | 1
69 | Glucoza | D(+)-Glucose anhydrous for biochemistry Reag. Ph Eur | 250g | 1 |  |  |  | 1
70 | Hexan(n-) cromatografie | puritate min 96 %, reziduu la evaporare max 0,0001 %, lindan (GC-ECD) max 3 pg/ml, for GC residue analysis | 2,5L | 25 | 25
71 | n-hexan | puritate 96% | 2,5L | 6 |  | 2 | 3 | 1
72 | Hidrogen ftalat de potasiu | continut ≥ 99,5 %; pierdere la uscare (105 0C) ≤ 0,2 %; Cu ≤ 0,0002 % | 250g | 2 |  | 1 |  | 1
73 | Hidroxid de sodiu | ≥99% | kg | 12 | 4 | 2 |  | 4 | 2
74 | Iodat de potasiu | for analysis, Assay (iodometric) 99,7%- 100,4% | 100g | 2 |  |  |  | 1 | 1
75 | Iodura de potasiu | for analysis, continut: >99,5%; Cl <0,01% | 500g | 3 |  |  | 1 | 1 | 1
76 | Kit consum chimic de oxigen | 5-80 | buc | 2 |  |  |  | 1 | 1
77 | Kit consum chimic de oxigen | 50-500 | buc | 2 |  |  |  | 1 | 1
78 | kit pentru analiza sulfurilor Spectroquant 0,02-1,5 mg/l | 0.020 - 1.50 mg/l S2- | buc | 1 |  |  |  | 1
79 | Metanol HPLC | puritate min 99,8 %, reziduu la evaporare max 3 mg/l, aciditate max 0,0002 meq/g, alcalinitate max 0,0002 meq/g, filtrat prin membrana cu diametrul porilor de max 0,2 μm | 2.5L | 6 | 6
80 | Metanol pentru LC-MS | calitate Chromasolv LC-MS Ultra, puritate min 99,9 %, pentru analiza LC-MS si UHPLC | L | 3 | 3
81 | Metil orange |  | 100g | 1 |  |  |  |  | 1
82 | molibdat de amoniu heptahidrat | continut: 99.3 - 101.8, Cl ≤ 0.002%, PO4 ≤ 0.0005%, SO4 ≤ 0.02%, (Pb) ≤ 0.001%, K ≤ 0.005%, Mg ≤ 0.005%, Na ≤ 0.005%, pentru analiza fosfatilor | kg | 1 |  |  |  | 1
83 | N-(1-Naftil)-etilendiamina diclorhidrat | ≥99% | 25g | 3 | 1 | 1 |  |  | 1
84 | Nitrozo-pentacianoferat de sodiu | continut 99.0 - 102.0%, cloruri ≤ 0.02%, hexacianoferati (II) ≤ 0.02, hexacianoferati (III) ≤ 0.01%, sulfati ≤ 0.01%, pentru analiza amoniului | 100g | 1 |  |  |  |  | 1
85 | Pernute solutie tampon nutrienti BOD, 3l | nutrienti CBO5 pentru 3 litri apa de dilutie | cutie | 1 |  | 1
86 | Pernute solutie tampon nutrienti BOD, 6l | nutrienti CBO5 pentru 6 litri apa de dilutie | cutie | 1 |  | 1
87 | Peroxodisulfat de potasiu | GR for analysis continut ≥ 99.0%, Cl ≤ 0.001%, (Pb) ≤ 0.003%, Fe ≤ 0.001%, Mn ≤ 0.0001% | 250g | 4 | 2 |  |  | 1 | 1
88 | Peroxodisulfat de potasiu fara N | continut ≥ 99.0%, N ≤ 0.001%, Cl ≤ 0.001%, (Pb) ≤ 0.001%, Fe ≤ 0.0005%, Mn ≤ 0.0001% | 250g | 5 | 1 | 1 | 1 | 1 | 1
89 | Piridina |  | L | 1 |  |  |  | 1
90 | Salicilat de sodiu | continut ≥ 99.5%, Cl ≤ 0.002%, SO4 ≤ 0.01%, Pb ≤ 0.001%, Fe ≤ 0.0015, pentru determinarea amoniu si azotati | 250g | 7 | 1 | 1 | 1 | 2 | 2
91 | solutie conductivitate 0,147 mS/cm |  | 500ml | 3 |  |  | 1 | 1 | 1
92 | solutie conductivitate 1,41 mS/cm | solutie KCl 0,01 mol/l | 500ml | 3 |  |  | 1 | 1 | 1
93 | Solutie curatare electrod pH/normala |  | 250ml | 1 |  |  |  |  | 1
94 | Solutie curatare electrod pH/strong |  | 250ml | 1 |  |  |  |  | 1
95 | solutie standard clorura de sodiu HACH 1000μS/cm |  | 50ml | 1 |  |  |  | 1
96 | Solutie standard de turbiditate 0 FTU |  | 30ml | 1 |  |  |  | 1
97 | Solutie standard de turbiditate 10 FTU |  | 30ml | 1 |  |  |  | 1
98 | Solutie standard de turbiditate 500 FTU |  | 30ml | 1 |  |  |  | 1
99 | solutie stocare electrod pH, Hach |  | 500ml | 1 |  | 1
100 | solutie tampon pH 7 |  | 500ml | 1 |  | 1
101 | solutie tampon pH HACH tehnic 4 |  | 500ml | 4 |  | 1 | 1 | 1 | 1
102 | solutie tampon pH HACH tehnic 7 |  | 500ml | 4 |  | 1 | 1 | 1 | 1
103 | solutie tampon pH HACH tehnic 10 |  | 500ml | 4 |  | 1 | 1 | 1 | 1
104 | solutie tampon pH WTW tehnic10 | buffer solution pH WTW technical TPL 10, 250 ml | 250ml | 1 |  |  |  | 1
105 | solutie tampon pH WTW tehnic 4 | buffer solution pH WTW technical TPL 4, 250 ml | 250ml | 1 |  |  |  | 1
106 | solutie tampon pH WTW tehnic 7 | buffer solution pH WTW technical TPL 7, 250 ml | 250ml | 1 |  |  |  | 1
107 | solutii electrolit 3M KCl, saturat cu AgCl, pH WTW 100 ml | WTW Inolab (730/740), density 1,13 g/cm3 (200C), boiling point 1000C, plastic bottle | 100ml | 2 |  |  | 1 | 1
108 | solutii electrolit 3M KCl, saturata cu AgCl, Ph HACH 28ml |  | 28ml | 1 |  |  |  | 1
109 | Sulfat de amoniu | analytical standard, for Nitrogen Determination | 25g | 1 |  |  |  | 1
110 | Sulfat de argint | GR for analysis, ACS, Assay (argentometric) min.98,5% | 100g | 5 | 1 | 1 | 1 | 1 | 1
111 | Sulfat de cupru | GR for analysis ACS, ISO, Reag. Ph Eur, assay iodometric 99.0 - 100.5 % | 500g | 6 |  |  |  | 4 | 2
112 | sulfat de fier II şi amoniu | for analysis, Assay (manganometric) 99 - 101,5% | 500g | 5 | 1 | 1 | 1 | 2
113 | sulfat de magneziu | min 99,5%, pH value (5%;water) 5,0 - 8,0 | kg | 1 |  |  |  | 1
114 | Sulfat de mangan | for analysis, Assay (complexometric) 98 - 101,0% | 250g | 8 |  |  |  | 4 | 4
115 | Sulfat de potasiu |  | 500g | 1 | 1
116 | Sulfat de sodiu anhidru | min 99,0 %, GR for analysis, particle size 0,25 - 2 mm, ACS, ISO, ph: 5,2 - 8,0 | 50g | 1 |  |  |  |  | 1
117 | Sulfat de sodiu anhidru |  | kg | 5 |  |  |  |  | 5
118 | Tampon pudra pentru fluoruri Hach | Sodium chloride, butenedioic disodium salt, succinic acid | cutie | 1 |  | 1
119 | Tartrat dublu de stibiu si potasiu | Potassium antimony(III) oxide tartrate hemihydrate | 250g | 2 |  | 1 |  |  | 1
120 | Tiosulfat de sodiu solutie 0,1N, fiola pentru 1000 ml | solutie 0,1N, fiola pentru 1000 ml | fiola | 2 |  |  |  | 1 | 1
121 | Tricitrat de sodiu, trihidrat | ≥99% | kg | 1 | 1
Sef laborator
Claudia Nagy

## lot 2
Lot 2 Materiale referinta indicatori chimici generali
Nr. crt. | Denumire MR | Specificatii | UM | Cantitate
1 | BOD Standard Spectroquant® (analogous to EN ISO 5815-1) |  | 500ml | 2
2 | Solutie standard amoniu 1000 mg/l NH4 | SRM, trasabil NIST, continut: NH4Cl in H2O, conc. NH4: 990-1010 mg/l | 500ml | 2
3 | Solutie standard azotiti 1000 mg/l NO2­ | SRM, trasanbil NIST, continut NaNO2 in H2O, conc. NO2: 990 - 1010 mg/l | 500ml | 2
4 | Solutie standard azotati 1000 mg/l NO3- | SRM, trasanbil NIST, continut NaNO3 in H2O, conc. NO3: 990 - 1010 mg/l | 500ml | 1
5 | Total Phosphorus 1000 mg/L Calibration Standard | concentration in H2O, 1000 mg/l | 100ml | 2
6 | Solutie standard fosfat 1000 mg/l PO4 | SRM, trasabil NIST, continut: KH2PO4 in H2O, conc. PO4: 990-1010 mg/l | 500ml | 2
7 | Solutie standard cloruri 1000 mg/l Cl- | SRM, trasabil NIST, continut: NaCl in H2O, conc. Cl: 990-1010 mg/l | 500ml | 2
8 | Solutie standard cianuri 1000 mg/l CN | SRM, trasabil NIST, continut: K2[Zn(CN)4] in H2O, conc. CN: 990-1010 mg/l | 500ml | 2
9 | Solutie standard sulfați 1000 mg/l SO42- | SRM, trasabil NIST, continut: Na2SO4 in H2O, conc. SO4: 990-1010 mg/l | 500ml | 1
10 | Surfactant (MBAS) 100 mg/L Calibration Standard | concentration in H2O, 100 mg/l | 100ml | 2
11 | Oil and Grease 100 mg/L Calibration Standard | concentration in H2O, 1000 mg/l | 250ml | 2
12 | Solutie standard Sodiu 1000 mg/l | Sodiu, Na / HNO3-0,5M, 1000 mg/l | 500ml | 1
13 | Solutie standard Potasiu 1000 mg/l | Potasiu, K / HNO3-0,5M, 1000 mg/l | 500ml | 1
14 | Solutie standard Fier 1000 mg/l | Fier, Fe / HNO3-0,5M, 1000 mg/l | 500ml | 1
15 | Solutie standard Mangan 1000 mg/l | Mangan, Mn / HNO3-0,5M, 1000 mg/l | 500ml | 1
16 | Solutie standard Zinc 1000 mg/l | Zinc, Zn / HNO3-0,5M, 1000 mg/l | 500ml | 1
17 | Solutie standard Arsen 1000 mg/l | Certipur® Arsenic standard solution 1000 mg/l As | 500ml | 1
18 | Solutie standard Cadmiu 1000 mg/l | Cadmiu, Cd / HNO3-0,5M, 1000 mg/l | 500ml | 1
19 | Solutie standard Cupru 1000 mg/l | Cupru, Cu / HNO3-0,5M, 1000 mg/l | 500ml | 1
20 | Solutie standard Crom 1000 mg/l | Crom, Cr(VI) / HNO3-0,5M, 1000 mg/l | 500ml | 1
21 | Solutie standard Nichel 1000 mg/l | Nichel, Mn / HNO3-0,5M, 1000 mg/l | 500ml | 1
22 | Solutie standard Plumb 1000 mg/l | Plumb, Pb / HNO3-0,5M, 1000 mg/l | 500ml | 1
23 | Solutie standard mercur | continut: 1000 mg/l Hg(NO3)2 in HNO3, trasabil la NIST-SRM | 100 ml | 1
24 | Solutie standard mercur ICP | continut: 1000 mg/l Hg(NO3)2 in 10% HNO3, trasabil la NIST-SRM | 100 ml | 1
25 | MRC Hg ERA 1341 |  | fiola | 1
Sef laborator
Claudia Nagy

## lot 3
Lot 3 Materiale de referinta cromatografie
Nr. crt. | Denumire produs | Specificaţii | CAS | Ambalaj | Cantitatea necesară | Observaţii
1 | Isodrin | certified neat | 465-73-6 | 0,10 g | 1
2 | Isodrin | 10 ng/µl in cyclohexane | 465-73-6 | 10 ml | 1
3 | Heptachlor-exo-epoxide (cis-, isomer B) | certified neat | 1024-57-3 | 10 mg | 1
4 | Heptachlor-exo-epoxide (cis-, isomer B) | 10 ng/µl in cyclohexane | 1024-57-3 | 10 ml | 1
5 | delta-HCH | 10 ng/µl in cyclohexane | 319-86-8 | 10 ml | 1
6 | Pesticide-Mix 17 | 10 ng/µl in cyclohexane | - | 10 ml | 1 | Aldrin, alpha-HCH, beta-HCH, gamma-HCH, 2,4'-DDT, 4,4'-DDD, 4,4'-DDE, 4,4'-DDT, Dieldrin, alpha-Endosulfan, beta-Endosulfan, Endrin, Heptachlor, Heptachlor epoxide (isomer A), Hexachlorobenzene, Methoxychlor, Pentachlorobenzene, Quintozene, 1,2,4,5-Tetrachlorobenzene, 1,2,4-Trichlorobenzene
7 | Pesticide-Mix 134 | 10 ng/μl in acetonitrile | - | 10 ml | 1 | Clorotoluron, Isoproturon, Diuron, Linuron
8 | Trifluralin | certified neat | 1582-09-8 | 0,10 g | 1
9 | Chlorfenvinphos | certified neat | 470-90-6 | 0,10 g | 1
10 | Dichlorvos | certified neat | 62-73-7 | 0,25 g | 1
11 | PAH-Mix 9 | 10 ng/µl in acetonitrile | - | 10 ml | 1
12 | PAH-Mix 9 | 10 ng/µl in cyclohexane | - | 10 ml | 1
13 | PAH-Mix 64 | 2000 ng/µl in dichloromethane:benzene (1:1) | - | 1 ml | 1
14 | Toluene | certified neat | 108-88-3 | 1 ml | 1
15 | Mix of Aromatic Hydrocarbons 2 | 100 µg/ml in methanol | - | 10 ml | 1 | Benzen, Toluen, Etilbenzen, o-Xilen, m-Xilen, p-Xilen
16 | Dichloromethane | certified neat | 75-09-2 | 1 ml | 1
17 | Tetrachloroethylene | certified neat | 127-18-4 | 1 ml | 1
18 | 1,1,2-Trichloroethane | certified neat | 79-00-5 | 1 ml | 1
19 | 1,1,2-Trichloroethane | certified neat | 79-00-5 | 1 ml | 1 | lot diferit fata de pozitia 25 sau alt producator
20 | Hexachloro-1,3-butadiene | certified neat | 87-68-3 | 0,25 g | 1
21 | Mixture of Mineral Oils (A+B) (Diesel Fuel / Lubricating Oil) 1:1 | certified neat | - | 1 ml | 1
Intocmit,
chim. Roxana Rus
Sef laborator
Claudia Nagy
lo