## Foaie1
Administraţia Naţională "Apele Române"
Administraţia Bazinală de Apă Someş-Tisa
Laboratorul Regional de Calitatea Apelor Cluj
LOT 1 REACTIVI CHIMICI
Nr. Crt | Denumire | Caracteristici | Cantitate | Necesar
|  |  |  | CJ | BN | SJ | MM | SM | Total
1 | Acetat de sodiu anhidru pa |  |  |  |  | 1 |  |  | 1
2 | Acetona | ≥99% | 1000 ml |  |  |  | 1 | 1 | 2
3 | Acetonă pentru cromatografia de gaze | puritate min 99,8 %, reziduu la evaporare max 0,0001 %, lindan (GC-ECD) max 3 pg/ml, for GC residue analysis | 2500ml | 3 |  |  |  |  | 3
4 | Acid acetic glacial | d=1.05 g/ml |  |  | 2 |  | 2 |  | 4
5 | Acid ascorbic | L(+)Ascorbic acid (vitamin C) GR For analysis, ACS,ISO; continut 99.7 - 100.5%, cristale albe, Fe ≤ 2 ppm, Cl ≤ 50 ppm, SO4 ≤ 20 ppm | 250g | 1 |  |  | 1 |  | 2
6 | Acid azotic 65% | Cr max. 0,020 ppm; Cu max. 0,010 ppm; Pb max. 0,010 ppm; Cd max. 0,010 ppm | 2500 ml |  |  |  | 1 |  | 1
7 | Acid boric | Continut: 99,5-100,5%; Cl <0,0003%; PO4 < 0,0005%; SO4< 0,0005%; (Pb) ≤ 0.0005%, Ca ≤ 0.002%, Fe ≤ 0.0001%, Pb ≤ 0.001% | 500 g |  |  | 1 | 1 |  | 2
8 | Acid clorhidric 34-37% max 0,1 ppb Hg | continut: 34-37%; Hg<0,1 ppb; | 1000 ml |  |  |  | 1 | 1 | 2
9 | Acid clorhidric 37% | Conc. min 35-38% ≥99% | 2500 ml |  | 1 | 1 | 1 |  | 3
10 | Acid clorhidric 0,1 N | c(HCl) = 0,1 mol/l | 1000 ml |  |  |  | 1 |  | 1
11 | Acid clorhidric 1N | Titrisol, pentru analiza, spec. density 1,02 g/ml; pH value <1,0(H2O, 20°C); volumetric solution in accordance with Ph Eur, USP; certified value traceable to NIST | 1000 ml |  |  |  | 1 |  | 1
12 | Acid fosforic concentrat | ortho-Phosphoric acid 85% GR for analysis ISO, GR for analysis ISO, continut: >85%; Mn <0,5ppm; NO3 <3 ppm | 1000 ml |  |  |  | 1 |  | 1
13 | Acid glutamic | for biochemistry ,≥99%,crtstalline powder white | 250g |  |  | 1 | 1 | 1 | 3
14 | Acid nicotinic | ≥99.5% (HPLC) | 100 ml |  |  | 1 |  |  | 1
15 | Acid sulfuric conc. | Conc.: 95-98% | 2500 ml | 4 | 2 | 2 | 1 | 2 | 11
16 | Alcool etilic | ≥99% | 1000 ml |  | 2 | 1 | 5 | 2 | 10
17 | Alcool izopropilic | ≥99% | 1000 ml | 1 | 1 |  | 1 | 1 | 4
18 | Aliltiouree (ATU) |  | 50g |  | 1 | 1 |  | 1 | 3
19 | Amoniac, soluție 25% | GR for analysis, solutie 25% | 1000 ml |  |  |  |  | 1 | 1
20 | Apa oxigenata 30% |  | Kg |  |  |  | 1 |  | 1
21 | Apă pentru LC-MS | calitate Chromasolv LC-MS Ultra, pentru analiza LC-MS si UHPLC | 2000 ml | 10 |  |  |  |  | 10
22 | Azida de sodiu | ≥99% | 100 g | 1 |  |  | 1 |  | 2
23 | Azotat de argint 0.1 N | solution for 1000ml, c(AgNO3)=0,1 mol/l(0,1 N ), Titrisol, density: 1,01 g/cm3(200C), solub. in water | fiola |  | 1 |  | 1 |  | 2
24 | Azotat de magneziu, modificator de matrice | modificator pentru AAS, c(Mg)=10±0,2g/l, Mg(NO3)2*6H2O in 17%HNO3 | 50ml |  |  |  | 1 |  | 1
25 | Azotat de palladiu, modificator de matrice | modificator pentru AAS, c(Pd)=10±0,2g/l, Pd(NO3)2*6H2O in 15%HNO3 | 50ml |  |  |  | 1 |  | 1
26 | Azotat de potasiu | continut ≥ 99.0%, NO2 ≤ 0,001%, NH4 ≤ 0.001% | 50 g | 2 |  |  |  |  | 2
27 | Azotit de sodiu | continut ≥ 99.0 %, Cl ≤ 0.005%, SO4 ≤ 0.005%, Fe ≤ 0.001% | 100 g |  | 1 |  |  | 1 | 2
28 | Acid stearic | for synthesis, pur > 97% | 100 g | 1 |  |  | 1 |  | 2
29 | Camfor | ρ: 0,992 g/cm3 (250C), pur > 95% | 250 g |  |  |  | 1 |  | 1
30 | Carbonat acid de sodiu | pur. 99,7 - 100,3%, PO4 max. 0,001%, Fe max 0,0005% | 500 g |  |  | 1 | 1 |  | 2
31 | Carbonat de sodiu | for analysis ,Assay ≥99,9% | 1000 g |  |  | 1 |  |  | 1
32 | Celuloza microcristalina |  | 500 g |  |  |  | 1 |  | 1
33 | Citrat trisodic dihidrat | GR for analysis, continut: 99.0 - 101.0%, pH = 7.5 - 9.0, Cl ≤ 0.001%, C2O4 ≤ 0.03%, PO4 ≤ 0.002%, SO4 ≤ 0.004%, N ≤ 0,001%, Pb ≤ 0.0005%, Ca ≤ 0.005%, Fe ≤ 0.0005%, NH3 ≤ 0.003%, H2O ≤ 11.0 - 13.0% | 1000 g | 1 |  |  |  | 1 | 2
34 | Cloramina T | min 99,0% | 250 g |  |  |  | 1 |  | 1
35 | Cloroform | ≥99% | 2500 ml | 1 | 1 | 1 |  | 1 | 4
36 | Clorura de amoniu | ≥99% | 1000 g | 1 | 1 | 1 |  | 1 | 4
37 | Clorura de bariu | continut ≥ 99.0%, Ca ≤ 0.005%, Fe ≤ 0.0001%, K ≤ 0.0025%, insoluble matter max. 0,005%, ph: 5,2 - 8,2 | Kg |  |  |  | 1 | 1 | 2
38 | Clorura de cesiu pa | for analysis, Assay (argentometric) min.99,5% | 25g |  |  |  | 1 |  | 1
39 | Clorura de cobalt hexahidrat |  | 100 g |  |  | 1 |  | 1 | 2
40 | Clorura de lantan | for analysis, Assay (complexometric) min.98 % | 100g |  |  |  | 1 |  | 1
41 | Clorura de mangan | continut: 99-101% | Kg |  |  |  | 1 |  | 1
42 | Clorura de potasiu | ≥99% | 500 g | 1 |  | 1 | 1 |  | 3
43 | Clorura de sodiu | GR for analysis, continut: >99,5%; SO4 ≤0,001%; Ca ≤0,002%; Mg ≤0,001% | 1000 g | 1 | 1 | 1 | 1 | 1 | 5
44 | clorura de sodiu solutie 0,1N |  | fiola |  | 1 |  |  |  | 1
45 | Cromat de potasiu | min 99,5%, Cl max. 0,001% | 250g | 1 | 1 |  |  |  | 2
46 | Dicloroizocianurat de sodiu dihidrat | GR for analysis continut ≥ 98% | 50g |  | 1 |  | 1 |  | 2
47 | Dicromat de potasiu |  | 500g |  |  | 1 |  |  | 1
48 | EDTA | GR for analysis ACS, ISO, Reag. Ph Eur, puritate ≥99% by titration, Fe ≤ 5 ppm | 250g | 1 | 1 | 1 | 1 | 1 | 5
49 | Eriocrom negru T (mordant negru 11) |  | 25g | 1 |  |  |  | 1 | 2
50 | Fenol | GR for analysis, ACS,Reag. Ph Eur, continut(bromatometric): 99,5% - 100.5 %, | 100g |  |  |  |  | 1 | 1
51 | Fenolftaleina solutie 1% in etanol |  | 250 ml |  |  |  | 1 |  | 1
52 | Feroina |  | 500 ml |  |  |  |  | 1 | 1
53 | Fosfat de amoniu, dihidrogeno-, modificator de matrice | modificator pentru AAS, c: 100g/l(NH4H2PO4 -puritate 99,99%)in 1%HNO3 | 50ml |  |  |  | 1 |  | 1
54 | Fosfat disodic dihidrat |  | 500 g |  |  | 1 |  |  | 1
55 | Fosfat monopotasic | min. 99%; N total max. 0,02%; Cloruri max. 0,002%; SO4 max. 0,01%; Metale grele(Pb) max. 0,02%; As max. 0,0002% Fe max. 0,003% | 250 g |  |  | 1 |  |  | 1
56 | Glicerina pa | min 99,5%, SO4 max. 0,001% | L |  |  |  | 1 |  | 1
57 | Glicina | GR for analysis, continut: ≥ 99,7%; Cl ≤ 0.003%, SO4 ≤ 0.0025%, (Pb) ≤ 0.001%, Fe ≤ 0.0001%, PB ≤ 0.0001%, NH4 ≤ 0.002%, alti aminoacizi ≤ 0.1% | 100g |  |  | 1 |  | 1 | 2
58 | Glucoza | D(+)-Glucose anhydrous for biochemistry Reag. Ph Eur | 250g |  |  | 1 | 1 |  | 2
59 | Hartie indicator de pH: 0,5-13 | GR for analysis, ACS,Reag. Ph Eur, puritate ≥ 99.0 %, materii insolubile ≤ 0.005 % | buc |  |  |  |  | 1 | 1
60 | Heptamolibdat de amoniu tetrahidrat | ≥99% | 250 g | 1 |  |  |  |  | 1
61 | Hexan(n-) cromatografie |  | 2500 ml | 20 |  |  |  |  | 20
62 | n-hexan | puritate 96% | 2500 ml |  | 2 | 3 | 1 | 2 | 8
63 | Hidrogen ftalat de potasiu | continut ≥ 99,5 %; pierdere la uscare (105 0C) ≤ 0,2 %; Cu ≤ 0,0002 % | 250g |  |  | 1 | 1 |  | 2
64 | Hidroxid de sodiu | GR for analysis, continut ≥ 99.0%, Na2CO3 ≤ 1.0%, Cl ≤ 0.0005%, PO4 ≤ 0.0005, SiO2 ≤ 0.001%, SO4 ≤ 0.0005%, N ≤ 0.0003%, (Pb) ≤ 0.0005%, Al ≤ 0.0005%, As ≤ 0.0001%, Ca ≤ 0.0005%, Cu ≤ 0.0002%, Fe ≤ 0.0005%, K ≤ 0.05%, Mg ≤ 0.0005%, Ni ≤ 0.00025, Pb ≤ 0.0005%, Zn ≤ 0.001% | 1000 g | 2 | 2 | 1 | 2 |  | 7
65 | Iodat de potasiu | for analysis, Assay (iodometric) 99,7%- 100,4% | 100 g |  |  | 1 |  | 1 | 2
66 | Iodura de potasiu | for analysis, continut: >99,5%; Cl <0,01% | 500g |  |  |  | 1 | 1 | 2
67 | Kit Turb 355 IR | WTW TURB 355 IR |  |  | 1 |  |  |  | 1
68 | Kit consum chimic de oxigen | 5-80 | set |  |  |  | 1 | 1 | 2
69 | Kit consum chimic de oxigen | 50-500 | set |  |  |  | 1 | 1 | 2
70 | Kit pentru analiza cianurilor (min. 100 teste) | photometric determination, 0,002-0,500 mg/l | buc |  |  |  | 1 | 1 | 2
71 | kit pentru analiza sulfurilor Spectroquant 0,02-1,5 mg/l | 0.020 - 1.50 mg/l S2- |  |  |  | 1 | 1 |  | 2
72 | Metanol HPLC | puritate min 99,8 %, reziduu la evaporare max 3 mg/l, aciditate max 0,0002 meq/g, alcalinitate max 0,0002 meq/g, filtrat prin membrana cu diametrul porilor de max 0,2 μm | 2500 ml | 2 |  |  |  |  | 2
73 | molibdat de amoniu heptahidrat |  | Kg |  |  | 1 |  |  | 1
74 | Murexid |  | 10g | 1 |  |  |  | 1 | 2
75 | N-(1-Naftil)-etilendiamina diclorhidrat | ≥99% | 25 g |  |  |  | 1 |  | 1
76 | Nitrozo-pentacianoferat de sodiu | continut 99.0 - 102.0%, cloruri ≤ 0.02%, hexacianoferati (II) ≤ 0.02, hexacianoferati (III) ≤ 0.01%, sulfati ≤ 0.01%, pentru analiza amoniului | 100 g |  |  |  | 1 |  | 1
77 | Pernute solutie tampon nutrienti BOD, 3l | nutrienti CBO5 pentru 3 litri apa de dilutie | cutie |  | 1 |  | 1 |  | 2
78 | Pernute solutie tampon nutrienti BOD, 6l | nutrienti CBO5 pentru 6 litri apa de dilutie | cutie |  | 1 |  | 1 | 1 | 3
79 | Peroxodisulfat de potasiu | GR for analysis continut ≥ 99.0%, Cl ≤ 0.001%, (Pb) ≤ 0.003%, Fe ≤ 0.001%, Mn ≤ 0.0001% | 250g | 1 |  |  | 1 |  | 2
80 | Peroxodisulfat de potasiu fara N | continut ≥ 99.0%, N ≤ 0.001%, Cl ≤ 0.001%, (Pb) ≤ 0.001%, Fe ≤ 0.0005%, Mn ≤ 0.0001% | 250g | 1 | 1 |  | 1 |  | 3
81 | Piridina | d-0,98 g/l | 1000 ml |  |  |  |  | 1 | 1
82 | Rosu de metil |  | 25 g |  |  |  |  | 1 | 1
83 | Salicilat de sodiu | continut ≥ 99.5%, Cl ≤ 0.002%, SO4 ≤ 0.01%, Pb ≤ 0.001%, Fe ≤ 0.0015, pentru determinarea amoniu si azotati | 250g | 1 | 1 | 1 | 1 |  | 4
84 | solutie tampon pH HACH tehnic 4 |  | 500ml | 1 | 1 |  | 1 |  | 3
85 | solutie tampon pH HACH tehnic 7 |  | 500ml | 1 | 1 |  | 1 |  | 3
86 | solutie tampon pH HACH tehnic 10 |  | 500ml | 1 | 1 |  | 1 |  | 3
87 | solutie tampon pH WTW tehnic 4 | buffer solution pH WTW technical TPL 10, 250 ml | 250ml |  |  | 1 | 1 |  | 2
88 | solutie tampon pH WTW tehnic 7 | buffer solution pH WTW technical TPL 4, 250 ml | 250ml |  |  | 1 | 1 |  | 2
89 | solutie tampon pH WTW tehnic 10 | buffer solution pH WTW technical TPL 7, 250 ml | 250ml |  |  | 1 | 1 |  | 2
90 | solutii electrolit 3M KCl, saturat cu AgCl, pH WTW 100 ml | WTW Inolab (730/740), density 1,13 g/cm3 (200C), boiling point 1000C, plastic bottle | 100ml |  |  | 1 | 1 |  | 2
91 | solutii electrolit 3M KCl, saturata cu AgCl, Ph HACH 28ml |  | 28ml |  |  |  | 1 |  | 1
92 | Sulfat de argint | GR for analysis, ACS, Assay (argentometric) min.98,5% | 100g |  |  | 1 | 1 |  | 2
93 | Sulfat de cupru | GR for analysis ACS, ISO, Reag. Ph Eur, assay iodometric 99.0 - 100.5 % | 500g |  | 1 |  | 1 |  | 2
94 | sulfat de fier II şi amoniu | for analysis, Assay (manganometric) 99 - 101,5% | 500g |  |  | 1 | 1 | 1 | 3
95 | sulfat de magneziu |  |  |  |  | 1 |  |  | 1
96 | Sulfat de mangan |  | 1000 g |  |  | 1 |  | 1 | 2
97 | sulfat de mercur | GR for analysis,ACS, Assay (complexometric) ≥98 % | 50 g | 1 | 1 |  |  |  | 2
98 | Sulfat de potasiu | ≥99% | 250 g |  |  | 1 |  |  | 1
99 | Sulfat de sodiu anhidru | min 99,0 %, GR for analysis, particle size 0,25 - 2 mm, ACS, ISO, ph: 5,2 - 8,0 | 500g |  |  | 1 | 1 |  | 2
100 | Sulfit de sodiu | min 99,0 %, GR for analysis, particle size 0,25 - 2 mm, ACS, ISO, ph: 5,2 - 8,0 | Kg |  |  | 1 |  | 1 | 2
102 | tartrat de sodiu si potasiu | GR for analysis ACS, ISO, Reag. Ph Eur, assay (alkalimetric)99.0 - 102.0 % | 1000 ml |  | 1 |  |  |  | 1
103 | Tiosulfat de sodiu solutie 0,1N, fiola pentru 1000 ml | solutie 0,1N, fiola pentru 1000 ml | fiola |  |  | 2 |  |  | 2
104 | Plicuri cu pulbere de ajustor de tărie ionică (ISA) pentru fluorură, pachet de 100 | [5 empty] | 1 |  | 1
105 | Verde de naftol B |  | 25g |  |  |  |  | 1 | 1
Sef laborator
dr. biol. Claudia Nagy